Merieux Nutrisciences *[Letterhead]*

TEST SERVICES

CONSUMER PRODUCTS UNIT

FINDINGS

Protocol No. 1002019006747

Sample Sending Company & Address: AGORA KİMYA SAN. VE TİC. A.Ş. / MENDERES, İZMİR

Sample Name: SOOP HAND ZEYTİNYAĞLI ZIVI EL SABUNU – ZEYTİN KOKULU

[SOOP HAND OLIVE OIL LIQUID HAND SOAP]

Manufacturing Company/ Brand: -/-

Customer Code: -

Sample No. -

Sample Details:

 Amount/Number: 500 mL /1

 Temperate at Collection: -

 Temperature at Acceptance: -

 Date of Production/Expiry: -/-

 Serial/Bath No. -/-

 Type of Treatment: Routine treatment

Sample Collected by: -

Place of Sample Collection / Package: - / Open

Date and Time of Sampling: -

Date and Time of Acceptance: 27.03.2019, 16:31

Beginning & Ending Date of Test: 27.03.2019 / 03.04.2019

Date of Preparation: 03.04.2019

FINDINGS

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Parameter | Finding | Limit Value | Compliance | Limit of Quantification | Recovery | Uncertainty of Measurement | Reference Method |
| **Min.** | **Max.** |  |
| Antimony (Sb) ICP-MS1 | Not found |  | 10 ppm | + | 0.2 ppm |  |  | KSL-ARGE |
| Arsenic (As) ICP- MS1 | Not found |  | 5 ppm | + | 0.2 ppm |  |  | KSL-ARGE |
| Mercury (Hg) ICP- MS1 | Not found |  | 1 ppm | + | 0.2 ppm |  |  | KSL-ARGE |
| Cadmium (Cd) ICP- MS1  | Not found |  | 5 ppm | + | 0.02 ppm |  |  | KSL-ARGE |
| Lead (Pb) ICP- MS1 | Not found |  | 20 ppm | + | 0.2 ppm |  |  | KSL-ARGE |

1: Limit Reference: Guideline on Heavy Metal Impurities in Cosmetic Products

NOTES: 1- All details relating to the sample belong with the incorporation.

2- The sample has been delivered to the laboratory in a closed package.

3- Sample note: AGORA KİMYA SAN. VE TİC A.Ş. / LOT: SOOPHDZK/0001, Date of manufacture: 21.03.2019

**TSE Laboratory Documentation No. 08-LB/009**

**None of the findings contained herein may be produced or published without our prior consent. Copies that do not bear signature are invalid. Findings contained herein only relate to the sample tested.**

**We are accredited by the Turkish Standards Institute.**

**Quality System Group, Accreditation No. AB-0598-T**

**Değirmen Sok. Ar Plaza B Blok No. 16 34742 Kozyatağı Kadıköy /IST**

**Tel: +216 445 27 27 (Pbx) Fax: +216 416 07 08 E-mail: info.tr@mxns.com**

 Page 1 / 2

Merieux Nutrisciences *[Letterhead]*

Protocol No. 10020190006747

*[Signed]*

Consumer Products Unit Coordinator

Burcu BAŞARAN

*[Initial]*

*Findings here are validated electronically.*

**TSE Laboratory Documentation No. 08-LB/009**

**None of the findings contained herein may be produced or published without our prior consent. Copies that do not bear signature are invalid. Findings contained herein only relate to the sample tested.**

**We are accredited by the Turkish Standards Institute.**

**Quality System Group, Accreditation No. AB-0598-T**

**Değirmen Sok. Ar Plaza B Blok No. 16 34742 Kozyatağı Kadıköy /IST**

**Tel: +216 445 27 27 (Pbx) Fax: +216 416 07 08 E-mail: info.tr@mxns.com**

 Page 2 / 2